Minnesota Geospatial Advisory Council & Metro Stormwater Geodata Project

Inlet, Outlet, Pond and Basin Inspection Schema

Draft Version 0.3 – Published xx/xx/xxxx

This draft Inlet, Outlet and Pond Inspection Schema (v. 0.3) has been prepared by the Metro Stormwater Geodata Project Steering Team and submitted to the Geospatial Advisory Council Standards Committee as a candidate standard for review, stakeholder comment and eventual adoption by the Geospatial Advisory Council.

Table of Contents

About the GAC	3

Overview, Context and FAQs	4

Inspection Schema Components	6

Structure of Components appearing in this Draft Inspection Schema:	6

Guide to Schema Format and Attributes	7

Inclusion Category Examples	8

Inlet Inspection Schema Components	9

Outlet Inspection Schema Components	15

Pond/Basin Inspection Schema Components	22

Acknowledgements

Huge thanks are due to the numerous participants of the Metro Stormwater Geodata Project (April 2018 – present) for their time, energy, patience, and thoughtful contributions to the development of this work. Enormous thanks are due to Perry Clark (GIS Analyst, Carver County) for his stellar work in pulling together the inspection forms of numerous cities to create the ‘master’ draft inspection schema proposal which underlies this proposed draft schema. Thanks to Carrie Magnuson for her keen editorial eye in reviewing the document and thanks to John Bilotta and Jeff Peterson of the Water Resources Center at the University of Minnesota for their facilitation of grant funding for our pilot project effort and to Rachel Olmanson (Minnesota Pollution Control Agency) for shepherding an early version of these inspection schemas through the staff at MPCA for pre-release review and comment during 2019.

# About the GAC

The mission of the Minnesota Geospatial Advisory Council (GAC) is to act as a coordinating body for the Minnesota geospatial community. The GAC is authorized by legislation passed in 2009 and reauthorized in 2014 Minnesota Statutes (16E.30, Subd. 8). It represents a cross-section of organizations that include city, county, regional, state, federal and tribal governments as well as education, business, and nonprofit sectors. As part of this mission, the GAC works with the Minnesota geospatial community to define and adopt standards needed by the community. GAC standards are developed and proposed by geospatial community subject matter experts. The GAC’s Standards Committee administers a process to ensure community-wide public review and input for any proposed standards. The GAC does not mandate or enforce standards. It offers the standards as a resource to the community. Organizations may choose to adopt the standards and require their use internally.

Introduction

Digital data representing stormwater infrastructure has the potential to contain a wealth of valuable information about size, capacity, age, location and use of stormwater fixtures and to serve modeling, mapping, capacity assessment, asset management and emergency response applications. This standard does not mandate how data producers should capture or store their stormwater infrastructure data internally, or how data is used to meet their internal business needs.

Purpose of this Draft Standard Document

The purpose of this draft standard document is two-fold.

First, this draft is provided for professionals in the fields geospatial, engineering, planning, regulatory, water quality, water resources, landscape design and others the opportunity to review and comment on the draft standard and influence its development and advancement.

Second, to provide a framework to eventually develop and maintain a single, commonly accepted set of attribute specifications (field name, type, field width, and order) for collection, transfer, and aggregation of consistent field inspection data on stormwater inlets, outlets, and ponds as they relate to reporting required for Municipal Separate Stormwater Sewer System (MS4) permits.

Applicability

Data producers may have unique methods, definitions, and criteria for capture and storage of stormwater infrastructure data that satisfy their own business requirements. This draft standard seeks to establish attribute specifications for data collection, data exchange and data aggregation purposes. This standard does not attempt to define internal data capture or storage specifications for data producers, though some data producers may find it beneficial to store and maintain their stormwater data in this format. Organizations within Minnesota are encouraged to adopt this standard for purposes of data exchange but are under no obligation to do so.

Sources of this Standard

The data specifications found in this draft standard are derived from the work of the Metro Stormwater Geodata Project, which involved a wide variety of agencies, interests, and professionals around the metro region, beginning work in April 2018 to develop a multi-purpose stormwater geodata transfer standard to meet various needs.

# Overview, Context and FAQs

Purpose of the Inlet, Outlet and Pond Inspection Schema and this document.

This document contains a proposed draft schema intended to be used for the consistent and detailed collection of field inspection data on stormwater inlets, outlets and ponds as they relate to reporting required for Municipal Separate Stormwater Sewer System (MS4) permits. This document is offered as a draft to the entire stakeholder community of Minnesota for their review and comment.

Who prepared this proposed draft schema and why was it prepared?

As part of the development of the Stormwater Geodata Transfer Standard by the Metro Stormwater Geodata Project from April 2018 onward, several participants were looking to explore and define a more standardized format for collecting and documenting field inspection information on inlets, outlets and ponds for their MS4 reporting requirements. There were a wide range of different inspection forms in already in use. These were collected, edited and assembled into a single format where as many needed features as possible were provided. The availability of a consistent inspection schema format is intended to provide better data, and consistent data across collecting and reporting jurisdictions to water quality practitioners for maintaining the fixtures and to serve the larger aim of improving water quality.

What is the Metro Stormwater Geodata Project (MSWGP)?

This MSWGP is a voluntary collaborative project comprised of private sector and public sector partners in the Twin Cities metropolitan region. The goal of the MSWGP effort is to create a stormwater geodata transfer standard that reflects the functional needs of the professional community and that contains the attributes, terminology and content—as well as the supporting documentation—to satisfactorily meet those needs.

The MSWGP effort began with an initial kick-off meeting in Medina, Minnesota on April 17, 2018.

The primary purpose of this kick-off session was to:

- to engage a variety of interested stakeholders;

- to present the proposed project and articulate some of the needs for it;

- to document their core business needs of the participants;

- to determine if there was enough interest from the stakeholder community in the project; and,

- if so, to create an initial Steering Committee to begin developing it.

The MSWGP builds upon initial prior work undertaken between 2008-2010 by state level agencies to create an initial stormwater system data exchange standard. The current MSWGP effort is being co-coordinated by volunteer staff from metro counties and watershed districts who organize and lead the meetings, prepare needed research and contextual materials, and document the input from the participants.

The MSWGP Steering Committee—comprised of professionals with backgrounds in engineering, planning, landscape architecture, water resources management, water quality regulation, monitoring, geospatial work, asset management, public works, and other disciplines—convened seven times between June 2018 and March 2021. In addition to the project Steering Committee, several smaller technical working groups also met to confer on specific details of the standard’s development; the result of these groups’ dedicated discussion, focus and work is contained within the pages of this document.

Is this Inlet, Outlet and Pond Inspection schema a mandated standard? Is this something we are going to be required to use? Absolutely not. No data standard developed by and for the geospatial of community in Minnesota are required or mandated. Standards—such as this emerging stormwater geodata transfer standard—are intended to serve as voluntary tools that the members of our profession work to develop collaboratively as a means of working more easily and efficiently with one another. There are no laws, statues, administrative rules or court orders in Minnesota that dictate what a city, county, watershed district or other agency must do with their data in terms of using or maintaining standards. The use of this forthcoming standard and other geodata standards, such as those already adopted for address points, road centerlines and parcels—while encouraged—are completely voluntary.

Is this version 0.3 the “definitive version” of the Inlet, Outlet and Pond Inspection schema?

No. This draft standard has been prepared by the participants of the Metro Stormwater Geodata Project as a beginning point, and the MSWGP members seek to improve it based on comments and input from the stakeholder community. This ‘version 0.3’ is being submitted and offered to the entire stakeholder community in Minnesota for them to review, critique, provide suggestions and comments on it. This review period is anticipated to take place during the spring and summer of 2020, and the comments received will be documented, reviewed and considered for modifying the next iteration of the inspection schema. Data standards and schemas like this are strengthened, enhanced and evolved by both the review and input of the professional community and through their usage.

My agency already has an inlet, outlet and pond inspection schema in use that meets our internal needs and MS4 permit reporting requirements. Why should we care about this new schema?

An agency or municipality already using its own format or schema can certainly maintain its data in its own format and does not need to switch to using another schema. The MSWGP effort is simply proposing and advancing this schema as something for folks to review and provide feedback on in the hopes your experience can help us improve it to be a tool that professional desire to use eventually. Our core tenet is that better data, which is standardized across jurisdictions helps us better understand our various water quality issues and helps support better decision making to improve, protect and maintain our water quality.

Applicability of this inspection schema.

Agencies who produce and maintain geospatial data representing stormwater features are certain to have their own unique methods, definitions, and criteria for capture and storage of geospatial data representing stormwater features to satisfy their own business requirements and meet their internal agency needs and to meet their external reporting requirements. This standard simply seeks to establish a set of attribute specifications primarily intended for data exchange purposes. This proposed and emerging standard may be used not only to transfer and aggregate data, but also potentially utilized to create, manage and maintain geospatial data for representing stormwater fixtures, assets and conveyance systems within a jurisdiction. This standard in no way attempts to define, change or dictate any agency’s existing internal data capture or storage specifications; however, some data producers may find benefit in using the standard to manage and maintain their data.

What does the public stakeholder review of this schema entail?

The MSWGP team has already published this draft schema document out for review and collected the comments, suggestions, revisions, and recommendations received during calendar 2020 and 2021. The MSWGP team has used these comments to revise, improve and edit the standard, hopefully improving it and refining it to better satisfy the various needs of the stakeholder community.

# Inspection Schema Components

The data schema on the following pages represents an attempt to document and categorize the various attributes needed for successful field collection of condition and status of stormwater inlets, outlets, and ponds for MS4 permit reporting. For many of these attributes, a domain of values are offered for consideration. The inspection schema is broken out into three components: inlets, outlets and ponds.

The MSWGP Steering Team welcomes and encourages input, comments, suggestions, and feedback from the stakeholder community on what kinds of things to add, improve upon or edit with this schema so it can be more a more useful and applicable tool to the professional community.

# Structure of Components appearing in this Draft Inspection Schema:

Inlet Inspection Schema

Outlet Inspection Schema

Pond/Basin Inspection Schema

Inlet Inspection Schema (Prefix: ‘IN_’)

An inlet is a site where stormwater enters the conveyance system. This draft inlet inspection schema contains twenty-eight (28) attributes for each inlet inspection point.

Outlet Inspection Schema (Prefix: ‘O_’)

An outlet is a site where stormwater discharges out from a pipe, channel or other conveyance. Note, outlets are not to be confused with outfalls. An outfall is a type of outlet, specifically applied to where water discharges into the Waters of the United States [40 CFR 230.3(s)] or into another municipal separate storm sewer system (MS4) permittee’s jurisdiction. This draft outlet inspection schema contains thirty-three (33) attributes for each outlet inspection point.

Pond/Basin Inspection Schema (Prefix: ‘PB_’)

Ponds (stormwater ponds) are bodies of water in the built environment which collect and store stormwater runoff. These fixtures are intended to serve several simultaneous functions notably as temporary runoff storage for flood control and water quality improvement (facilitating absorption of water by the soil). This draft pond inspection schema contains seventy-three (73) attributes for each pond inspection site.

# Guide to Schema Format and Attributes

Each Component contains numerous individual attributes; this document will be organized so each attribute has its own descriptive entry which details its content with examples also provided of each sub-component:

Element ID:	Example: MS4_IN.FK - this is just a reference (marker) for the entry.

The Element IDs will potentially change with each version of the standard as attributes and features get added or dropped during the revision process.

Attribute (Alias) Name:		Foreign Key

Database Name:		IN_FKEY (these are kept to 10 characters or less)

Inclusion Category:		Mandatory, Conditional, If Available, Optional

These are the categories in use by standards adopted by the

Minnesota Geospatial Advisory Council

(Please see page 8 for explanation of each term)

Field Width:			This indicates the character width of the field (a.k.a. length)

Domain:			This indicates if the field has a domain of accepted or set values

Example:			Where applicable, an example is provided

Description:			An additional verbal description of fixture represented

The graphic below explains the table provided for each descriptor of each attribute presented in the draft inlet, outlet and pond schemas to follow:

Element ID                        Name of attribute 	   Inclusion Category information                           Domain

`

Database name

Data type (Text, Float, Date, etc.)

Width value

Examples (examples of actual values which might appear in the field)

Description

(descriptive characteristics, links to resources provided or other files are referenced as applicable)

# Inclusion Category Examples

“Inclusion” is a term used to explain the requirement for the population of a field in a dataset for it to comply with the standard.

Each attribute can be defined as of one of four types of Inclusion, these are:

- Mandatory;

- Conditional;

- If Available;

- Optional;

Each category is explained in more detail below:

Mandatory: The field must be populated for each record to be compliant with the standard.

The use of the term ‘mandatory’ indicates nothing more than for the data to be compliant with the standard it must have, at minimum, the mandatory fields populated. In a ‘mandatory’ designation, null values would not be allowed. Further, the term ‘mandatory’ is not to be applied to the fulfillment of an agency’s request for data (e.g. “it is ‘mandatory’ that you provide this data to us” – this is not the intention of the ‘mandatory’ category in this or any other standard).

Agencies can create and maintain data that does not contain the ‘mandatory’ fields in any standards. This simply means their data is not compliant with the standard, but in no way does it mean that their data isn’t useful or cannot be used.

For example, the field Pipe ID is a ‘mandatory’ field to be populated in the draft MSWGP v. 0.5 data standard, which makes sense as each asset should have its own unique identifier; however, a data producer such as a city may have digitized their stormwater network and while it has usable data, it simply has not applied a unique ID to each pipe in their system. Their data would not be compliant with the standard; but could still be used to fulfill many useful and important mapping and analysis uses.

Conditional: Each field with a ‘Conditional’ designation is to be populated with a non-null value for each record that is applicable to the feature. For example, the field Pipe Shape is a Conditional field; if the shape of a given pipe asset is not known, the data producer is can reasonably be expected to enter the value ‘Unknown’ and not to leave the field ‘blank’ or ‘null’.

If Available: Each field with an ‘If Available’ designation is to be populated—if the data exists—in the data provider’s database or system. If a data provider does not have the data, it cannot be populated. For example, the field Pipe Casing is an If Available field. As not all pipes types have or require a casing, or the presence of a casing may not be known, it is acceptable to leave unknowns as null values.

Optional: An ‘optional’ field is one that is not required to be populated, however, inclusion of this data would enhance the value and usability of the data and data producers are encouraged to provide as much data as possible.

# Inlet Inspection Schema Components

MS4_IN.PK – Primary Key

| Database Name | IN_PKEY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 150 | Domain | (no domain) |
| Example | 202003030001 |  |  |
| Description | Primary key, a unique ID for the inspection record |  |  |

MS4_IN.FK – Foreign Key

| Database Name | IN_FKEY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 150 | Domain | (no domain) |
| Example | 77456-01265 |  |  |
| Description | Foreign key, unique ID of the asset or fixture being inspected The presence of a foreign key enables the full inspection record to be effectively joined to a geospatial feature (e.g. point geometry) which represents the inlet for mapping and visual display. |  |  |

MS4_IN.1 – Inspection Date

| Database Name | INSP_DATE |  |  |
| --- | --- | --- | --- |
| Data Type | Date | Inclusion | Mandatory |
| Width | Default | Domain | (no domain) |
| Example | 2/14/2020 |  |  |
| Description | Date of inspection |  |  |

MS4_IN.2 – Inspector

| Database Name | IN_INSPEC |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 254 | Domain | (no domain) |
| Example | Alex Blenkush |  |  |
| Description | Name of inspector |  |  |

MS4_IN.3 – Agency

| Database Name | IN_AGENCY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 254 | Domain | (no domain) |
| Example | Hennepin County Public Works |  |  |
| Description | Name of agency |  |  |

MS4_IN.4 – Temperature

| Database Name | IN_TEMP |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 68.0 |  |  |
| Description | Temperature in degrees Fahrenheit |  |  |

MS4_IN.5 – Rainfall in last 24 hours

| Database Name | IN_RAIN24 |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 0.8 |  |  |
| Description | Amount of recorded rainfall in inches in the last 24-hour period |  |  |

MS4_IN.6 – Rainfall in last 48 hours

| Database Name | IN_RAIN48 |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 0.8 |  |  |
| Description | Amount of recorded rainfall in inches in the last 48-hour period |  |  |

MS4_IN.7 – Flow Present

| Database Name | IN_FLOWPRE |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4YesNo |
| Examples | Yes, No |  |  |
| Description | Yes or no flag if flow is present at time of inspection |  |  |

MS4_IN.8 – Flow Description

| Database Name | IN_FLOWDESC |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 12 | Domain | ms4FlowDescription |
| Examples | Trickle, Moderate, Substantial |  |  |
| Description | General description of flow at time of inspection |  |  |

MS4_IN.9 – Odor

| Database Name | IN_ODOR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 16 | Domain | ms4Odor |
| Examples | None, Petroleum or gas, Rancid or sour, Sewage, Sulfide, Other |  |  |
| Description | General description of odor characteristics at time of inspection |  |  |

MS4_IN.10 – Odor Severity

| Database Name | IN_ODORSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 24 | Domain | ms4OdorSeverity |
| Examples | Faint, Easily Detected, Noticeable at a distance |  |  |
| Description | General description of odor characteristics at time of inspection |  |  |

MS4_IN.11 – Color

| Database Name | IN_COLOR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 6 | Domain | ms4Color |
| Examples | Brown, Clear, Gray, Green, Orange, Red, Yellow, Other |  |  |
| Description | General description of color characteristics at time of inspection |  |  |

MS4_IN.12 – Color Severity

| Database Name | IN_COLORSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 32 | Domain | ms4ColorSeverity |
| Examples | Faint color in sample bottle Clearly visible in sample bottle Clearly visible in outlet flow |  |  |
| Description | General description of color characteristics at time of inspection |  |  |

MS4_IN.13 – Turbidity Severity

| Database Name | IN_TURBSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 18 | Domain | ms4TurbiditySeverity |
| Examples | Slight cloudiness Cloudy Opaque |  |  |
| Description | General description of apparent turbidity characteristics at time of inspection |  |  |

MS4_IN.14 – Floatables

| Database Name | IN_FLOAT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 18 | Domain | ms4Floatables |
| Examples | Sewage indicators Petroleum Suds Other |  |  |
| Description | General description of the floatable materials present in the water at time of inspection |  |  |

MS4_IN.15 – Floatables Severity

| Database Name | IN_FLOATSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 8 | Domain | ms4FloatablesSeverity |
| Examples | Low Medium Heavy |  |  |
| Description | General description of severity of floatable materials in the water at time of inspection |  |  |

MS4_IN.16 – Inlet Damage

| Database Name | IN_DAMAGE |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 30 | Domain | ms4Damage |
| Examples | Corrosion Peeling Paint Spalling Cracking Chipping Combination Other |  |  |
| Description | General description of visible damage to the inlet at time of inspection |  |  |

MS4_IN.17 – Deposit Stains

| Database Name | IN_DSTAIN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4DepositStains |
| Examples | Oily Flow Line Paint Other |  |  |
| Description | General description of visible deposit stains to the inlet at time of inspection |  |  |

MS4_IN.18 – Abnormal Vegetation

| Database Name | IN_ABVEG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4AbVegetation |
| Examples | Excessive Inhibited Other |  |  |
| Description | General description of abnormal vegetation growth present at time of inspection |  |  |

MS4_IN.19 – Debris

| Database Name | IN_DEBRIS |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 8 | Domain | ms4Debris |
| Examples | None Brush Garbage Other |  |  |
| Description | General description of presence of debris (brush, garbage, other) present at time of inspection |  |  |

MS4_IN.20 – Illicit Discharge Characteristics

| Database Name | IN_ILCHAR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4Characteristic |
| Examples | Unlikely Potential (Presence of two or more indicators) Suspect (One or more indicators with a high severity) Obvious (Obvious illicit discharge) |  |  |
| Description | General description of illicit discharge characteristics |  |  |

MS4_IN.21 – MS4 Illicit Inspection Notes

| Database Name | IN_NOTES |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Examples | (insert inspector comments related to MS4 permit compliance) |  |  |
| Description | Notes or comments related to the inspection of the inlet for MS4 permit compliance |  |  |

MS4_IN.22 – Sample Collected

| Database Name | INSAMPCOL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4YesNo |
| Examples | Yes, No |  |  |
| Description | Flag to confirm collection of sample at site |  |  |

MS4_IN.23 – Overall Condition

| Database Name | IN_OCOND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4Condition |
| Examples | NA (not applicable) NI (not inspected) 0 (no problems, not a problem) 1 (monitor, potential future problems) 2 (routine maintenance required) 3 (immediate repair necessary) |  |  |
| Description | Indicator of overall condition of the inlet |  |  |

MS4_IN.24 – Condition Notes

| Database Name | IN_CNOTES |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Examples | (insert condition notes relevant to inspection) |  |  |
| Description | Condition notes on the inlet |  |  |

MS4_IN.25 – Maintenance Required

| Database Name | IN_MNTREQ |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4YesNo |
| Examples | Yes, No |  |  |
| Description | Flag to indicate if maintenance is required |  |  |

MS4_IN.26 – Maintenance Required Notes

| Database Name | IN_MNTNOTE |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Examples | “Inlet should be put on CIP Maintenance project for 2021” |  |  |
| Description | Notes on maintenance activity needed |  |  |

# Outlet Inspection Schema Components

MS4_OUT.PK – Primary Key

| Database Name | O_PKEY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 150 | Domain | (no domain) |
| Example | 202003030001 |  |  |
| Description | Primary key, a unique ID for the inspection record |  |  |

MS4_OUT.FK – Foreign Key

| Database Name | O_FKEY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 150 | Domain | (no domain) |
| Example | 77456-01265 |  |  |
| Description | Foreign key, unique ID of the asset or fixture being inspected The presence of a foreign key enables the full inspection record to be effectively joined to a geospatial feature (e.g. point geometry) which represents the inlet for mapping and visual display. |  |  |

MS4_OUT.1 – Inspection Date

| Database Name | O_INSDATE |  |  |
| --- | --- | --- | --- |
| Data Type | Date | Inclusion | Mandatory |
| Width | Default | Domain | (no domain) |
| Example | 2/14/2020 |  |  |
| Description | Date of inspection |  |  |

MS4_OUT.2 – Inspector

| Database Name | O_INSPCR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 254 | Domain | (no domain) |
| Example | Carrie Magnuson |  |  |
| Description | Name of inspector |  |  |

MS4_OUT.3 – Agency

| Database Name | O_AGENCY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 254 | Domain | (no domain) |
| Example | Ramsey Washington Metro Watershed District |  |  |
| Description | Name of agency completing the inspection? |  |  |

MS4_OUT.4 – Presence of Outfall

| Database Name | O_OUTFALL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 7 | Domain | ms4YesNoUnknown |
| Example | Yes, No, Unknown |  |  |
| Description | Flag to indicate if outlet is also an outfall |  |  |

MS4_OUT.5 – Temperature

| Database Name | O_TEMP |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 68.0 |  |  |
| Description | Temperature in degrees Fahrenheit |  |  |

MS4_OUT.6 – Rainfall in last 24 hours

| Database Name | O_RAIN24 |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 0.8 |  |  |
| Description | Amount of recorded rainfall in inches in the last 24-hour period |  |  |

MS4_OUT.7 – Rainfall in last 48 hours

| Database Name | O_RAIN48 |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 0.8 |  |  |
| Description | Amount of recorded rainfall in inches in the last 48-hour period |  |  |

MS4_OUT.8 – Outlet Submerged

| Database Name | O_SUB |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4OutStatus |
| Examples | No Partially Fully |  |  |
| Description | Flag if outlet is submerged at time of inspection |  |  |

MS4_OUT.9 – Outlet Sediment

| Database Name | O_SEDIM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4OutStatus |
| Examples | No Partially Fully |  |  |
| Description | Flag if outlet is impeded/impacted with sediment at time of inspection |  |  |

MS4_OUT.10 – Flow Present

| Database Name | O_FLOWPRES |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4YesNoUnknown |
| Examples | Yes, No |  |  |
| Description | Yes or no flag if flow is present at time of inspection |  |  |

MS4_OUT.11 – Flow Description

| Database Name | O_FLOWDSC |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 12 | Domain | ms4FlowDescription |
| Examples | Trickle, Moderate, Substantial |  |  |
| Description | General description of flow at time of inspection |  |  |

MS4_OUT.12 – Odor

| Database Name | O_ODOR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 16 | Domain | ms4Odor |
| Examples | None, Petroleum or gas, Rancid or sour, Sewage, Sulfide, Other |  |  |
| Description | General description of odor characteristics at time of inspection |  |  |

MS4_OUT.13 – Odor Severity

| Database Name | O_ODORSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 24 | Domain | ms4OdorSeverity |
| Examples | Faint, Easily Detected, Noticeable at a distance |  |  |
| Description | General description of odor severity at time of inspection |  |  |

MS4_OUT.14 – Color

| Database Name | O_COLOR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 6 | Domain | ms4Color |
| Examples | Brown, Clear, Gray, Green, Orange, Red, Yellow, Other |  |  |
| Description | General description of color characteristics at time of inspection |  |  |

MS4_OUT.15 – Color Severity

| Database Name | O_COLORSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 32 | Domain | ms4ColorSeverity |
| Examples | Faint color in sample bottle Clearly visible in sample bottle Clearly visible in outlet flow |  |  |
| Description | General description of color characteristics at time of inspection |  |  |

MS4_OUT.16 – Turbidity Severity

| Database Name | O_TURBSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 18 | Domain | ms4TurbiditySeverity |
| Examples | Slight cloudiness Cloudy Opaque |  |  |
| Description | General description of apparent turbidity characteristics at time of inspection |  |  |

MS4_OUT.17 – Floatables

| Database Name | O_FLOAT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 18 | Domain | ms4Floatables |
| Examples | Sewage indicators Petroleum Suds Other |  |  |
| Description | Indication of type of floatable materials present in water at time of inspection |  |  |

MS4_OUT.18 – Floatables Severity

| Database Name | O_FLOATSV |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 8 | Domain | ms4FloatablesSeverity |
| Examples | Low Medium Heavy |  |  |
| Description | General description of severity of floatable materials in the water at time of inspection |  |  |

MS4_OUT.19 – Outlet Damage

| Database Name | O_DAMAGE |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 30 | Domain | ms4Damage |
| Examples | Corrosion Peeling Paint Spalling Cracking Chipping Combination Other |  |  |
| Description | General description of visible damage to the outlet at time of inspection |  |  |

MS4_OUT.20 – Deposit Stains

| Database Name | O_DSTAIN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4DepositStains |
| Examples | Oily Flow Line Paint Other |  |  |
| Description | General description of visible deposit stains to the outlet at time of inspection |  |  |

MS4_OUT.21 – Abnormal Vegetation

| Database Name | O_ABVEG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4AbVegetation |
| Examples | Excessive Inhibited Other |  |  |
| Description | General description of abnormal vegetation growth present at time of inspection |  |  |

MS4_OUT.22 – Poor Pool Quality

| Database Name | O_PPQUAL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 15 | Domain | ms4PPQuality |
| Examples | Colors Excessive algae Floatables Odors Oil sheen Suds Other |  |  |
| Description | General description of the impacts resulting in poor pool quality at outlet |  |  |

MS4_OUT.23 – Debris

| Database Name | O_DEBRIS |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 8 | Domain | ms4Debris |
| Examples | None Brush Garbage Other |  |  |
| Description | General description of presence of debris (brush, garbage, other) present at time of inspection |  |  |

MS4_OUT.24 – Illicit Discharge Characteristics

| Database Name | O_ILCHAR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 9 | Domain | ms4Characteristic |
| Examples | Unlikely Potential (Presence of two or more indicators) Suspect (One or more indicators with a high severity) Obvious (Obvious illicit discharge) |  |  |
| Description | General description of illicit discharge characteristics |  |  |

MS4_OUT.25 – MS4 Illicit Inspection Notes

| Database Name | O_NOTES |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Examples | (insert inspector comments related to MS4 permit compliance) |  |  |
| Description | Notes or comments related to the inspection of the outlet for MS4 permit compliance |  |  |

MS4_OUT.26 – Sample Collected

| Database Name | O_SAMPCOL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4YesNo |
| Examples | Yes, No |  |  |
| Description | Flag to confirm collection of a sample at site |  |  |

MS4_OUT.27 – Sample Collected From (Site Location)

| Database Name | O_SAMPCFR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 7 | Domain | Ms4SampleCollectedFrom |
| Examples | Flow, Pool, Other, Unknown |  |  |
| Description | Indicator of where the sample was taken from |  |  |

MS4_OUT.28 – Overall Condition

| Database Name | O_OVERCN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4Condition |
| Examples | NA (not applicable), NI (not inspected) 0 (no problems, not a problem), 1 (monitor, potential future problems) 2 (routine maintenance required), 3 (immediate repair necessary) |  |  |
| Description | Indicator of overall outlet condition |  |  |

MS4_OUT.29– Condition Notes

| Database Name | O_CNOTES |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Examples | (insert condition notes relevant to inspection) |  |  |
| Description | Condition notes on the inlet |  |  |

MS4_OUT.30 – Maintenance Required

| Database Name | O_MNTREQ |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 3 | Domain | ms4YesNo |
| Examples | Yes, No |  |  |
| Description | Flag to indicate if maintenance is required |  |  |

MS4_OUT.31 – Maintenance Required Notes

| Database Name | O_MNTNOTE |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Examples | Yes, No |  |  |
| Description | Notes on maintenance activity relevant to inspection |  |  |

# Pond/Basin Inspection Schema Components

MS4_PB.PK – Pond Inspection Primary Key

| Database Name | PB_PKEY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 150 | Domain | (no domain) |
| Example | 2020-02-14-0001 |  |  |
| Description | Unique ID for the inspection report |  |  |

MS4_PB.FK – Pond Inspection Foreign Key

| Database Name | PB_FKEY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 150 | Domain | (no domain) |
| Example | CEB-100020003-009 |  |  |
| Description | Unique ID for the fixture being inspected (to facilitate linkage) |  |  |

MS4_PB.01 – Inspection Date

| Database Name | PB_INSDATE |  |  |
| --- | --- | --- | --- |
| Data Type | Date | Inclusion | Mandatory |
| Width | Default | Domain | (no domain) |
| Example | 02/14/2020 |  |  |
| Description | Date of inspection |  |  |

MS4_PB.02 – Inspector

| Database Name | PB_INSPECT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 254 | Domain | (no domain) |
| Example | John Q. Public |  |  |
| Description | Name of inspector |  |  |

MS4_PB.03 – Agency

| Database Name | PB_AGENCY |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Mandatory |
| Width | 254 | Domain | (no domain) |
| Example | Ramsey County |  |  |
| Description | Agency conducting the inspection |  |  |

MS4_PB.04 – Temperature

| Database Name | PB_TEMP |  |  |
| --- | --- | --- | --- |
| Data Type | Double | Inclusion | Conditional |
| Width | Default | Domain | (no domain) |
| Example | 68 |  |  |
| Description | Temperature in degrees Fahrenheit |  |  |

MS4_PB.05 – Weather

| Database Name | PB_WEATHER |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (no domain) |
| Example | Overcast, misty rain, wind 8 mph from NW |  |  |
| Description | Description of weather conditions |  |  |

MS4_PB.06 – Outlet Woody Growth

| Database Name | PBO_WOODG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of wood growth conditions at outlet |  |  |

MS4_PB.07 – Outlet Structures

| Database Name | PBO_STRUCT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of outlet structure(s) at pond/basin |  |  |

MS4_PB.08 – Outlet Undercutting

| Database Name | PBO_UNDERCT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of conditions from released water undercutting the outlet |  |  |

MS4_PB.09 – Outlet Erosion

| Database Name | PBO_EROSN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of general erosion conditions |  |  |

MS4_PB.10 – Outlet Rip Rap

| Database Name | PBO_RIPRAP |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of general rip rap conditions |  |  |

MS4_PB.11 – Outlet Sediment

| Database Name | PBO_SEDIMT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of general sediment conditions |  |  |

MS4_PB.12 – Outlet Vegetation

| Database Name | PBO_VEG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Description of general vegetation conditions |  |  |

MS4_PB.13 – Outlet Overall Condition

| Database Name | PBO_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of overall condition of outlet(s) at pond/basin |  |  |

MS4_PB.14 – Outlet Comments

| Database Name | PBO_COMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (Text description of overall description of pond/basin outlet) |  |  |
| Description | Written description of overall condition or characteristics of pond/basin |  |  |

MS4_PB.15 – Bank Spillway Geometry

| Database Name | PBBS_GEOM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of conditions of cracking, bulging or sloughing in the spillway |  |  |

MS4_PB.16 – Bank Spillway Erosion

| Database Name | PBBS_EROSN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of presence and impact of erosion of the spillway |  |  |

MS4_PB.17 – Bank Spillway Animal Damage

| Database Name | PBBS_ANDAM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of presence of animal damage activity (burrows, etc.) |  |  |

MS4_PB.18 – Bank Spillway Soft Spots

| Database Name | PBBS_SOFTS |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of presence of soft spots |  |  |

MS4_PB.19 – Bank Spillway Vegetation

| Database Name | PBBS_VEG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of status of vegetation impacts |  |  |

MS4_PB.20 – Bank Spillway Debris

| Database Name | PBBS_DEBR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of status of debris obstructions |  |  |

MS4_PB.21 – Bank Spillway Woody Growth

| Database Name | PBBS_WOODG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of status of woody growth or unauthorized plantings |  |  |

MS4_PB.22 – Bank Spillway Condition

| Database Name | PBBS_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of overall condition/status of the bank spillway |  |  |

MS4_PB.23 – Bank Spillway Condition Comments

| Database Name | PBBS_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (insert general comments/observations from field) |  |  |
| Description | Indicator of overall condition/status of the bank spillway |  |  |

MS4_PB.24 – Trash Rack Structure

| Database Name | PBTR_STR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Indicator of overall condition/status of the weir and trash rack |  |  |

MS4_PB.25 – Trash Rack Debris Removal

| Database Name | PBTR_DBRM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Weir and trash rack debris removal |  |  |

MS4_PB.26 – Trash Rack Corrosion

| Database Name | PBTR_CORR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Weir and trash rack corrosion |  |  |

MS4_PB.27 – Trash Rack Condition

| Database Name | PBTR_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Weir and trash rack condition |  |  |

MS4_PB.28 – Trash Rack Comments

| Database Name | PBTR_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (insert general comments/observations from field) |  |  |
| Description | Indicator of overall condition/status of the weir and trash rack |  |  |

MS4_PB.29 – Spillway Spalling

| Database Name | PBS_SPALL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, indicator of concrete spalling |  |  |

MS4_PB.30 – Spillway Joint Failure

| Database Name | PBS_JFAIL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, indicator of joint failure |  |  |

MS4_PB.31 – Spillway Leaking

| Database Name | PBS_LEAK |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, indicator of leaking |  |  |

MS4_PB.32 – Spillway Corrosion

| Database Name | PBS_CORR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, presence of corrosion |  |  |

MS4_PB.33 – Spillway Misalignment

| Database Name | PBS_MISAL |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, misalignment or split seams or joints |  |  |

MS4_PB.34 – Spillway Manhole

| Database Name | PBS_MH |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, condition of manhole access and steps available |  |  |

MS4_PB.35 – Spillway Sediment

| Database Name | PBS_SEDIM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, sediment accumulation within riser |  |  |

MS4_PB.36 – Spillway Condition

| Database Name | PBS_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Spillway, general/overall condition |  |  |

MS4_PB.37 – Spillway Comments

| Database Name | PBS_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (insert general comments/observations from field) |  |  |
| Description | Comments related to the condition/status of spillway |  |  |

MS4_PB.38 – Pool Pollution

| Database Name | PBP_PLTN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Visible pollution in pool |  |  |

MS4_PB.39 – Pool Erosion

| Database Name | PBP_EROSN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Visible erosion of pool |  |  |

MS4_PB.40 – Pool Vegetative Growth

| Database Name | PBP_VEG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Visible (unwanted?) vegetation in pool |  |  |

MS4_PB.41 – Pool Debris

| Database Name | PBP_DBRS |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Visible debris in pool |  |  |

MS4_PB.42 – Pool Sediment

| Database Name | PBP_SEDIM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Visible sediment in pool |  |  |

MS4_PB.43 – Pool Condition

| Database Name | PBP_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Overall condition of pool |  |  |

MS4_PB.44 – Pool Comments

| Database Name | PBP_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Example | (insert general comments/observations from field) |  |  |
| Description | Comments related to the condition/status of pool |  |  |

MS4_PB.45 – Dry Pond Vegetation Adequate

| Database Name | PBDP_VEGA |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status of desired vegetation of dry pond feature |  |  |

MS4_PB.46 – Dry Pond Vegetation Undesirable

| Database Name | PBDP_VEGU |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status of the undesirable/woody vegetative growth of dry pond feature |  |  |

MS4_PB.47 – Dry Pond Obstructions

| Database Name | PBDP_OBST |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status of low flow channel obstructions |  |  |

MS4_PB.48 – Dry Pond Standing Water

| Database Name | PBDP_STW |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status of standing water and/or wet spots |  |  |

MS4_PB.49 – Dry Pond Debris

| Database Name | PBDP_DBR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status of debris in dry pond |  |  |

MS4_PB.50 – Dry Pond Sediment

| Database Name | PBDP_SDM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status of sediment in dry pond |  |  |

MS4_PB.51 – Dry Pond Condition

| Database Name | PBDP_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Overall condition/status description of dry pond |  |  |

MS4_PB.52 – Dry Pond Comments

| Database Name | PBDP_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Example | (insert general comments/observations from field) |  |  |
| Description | Comments related to the condition/status of dry pond |  |  |

MS4_PB.53 – Inflow Rip Rap

| Database Name | PBI_RIPRAP |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Condition status of rip rap at pond/basin inflow |  |  |

MS4_PB.54 – Inflow Erosion

| Database Name | PBI_EROSN |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Condition status of erosion at pond/basin inflow |  |  |

MS4_PB.55 – Inflow Debris

| Database Name | PBI_DBRS |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Condition status of debris at pond/basin inflow |  |  |

MS4_PB.56 – Inflow Sediment

| Database Name | PBI_SEDM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Condition status of sediment at pond/basin inflow |  |  |

MS4_PB.57 – Inflow Forebay Sediment Debris

| Database Name | PBI_FBSD |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Condition status of sediment at inflow forebay |  |  |

MS4_PB.58 – Inflow Condition

| Database Name | PBI_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Overall condition/status description of inflow |  |  |

MS4_PB.59 – Inflow Comments

| Database Name | PBI_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 254 | Domain | (none) |
| Example | (insert general comments/observations from field) |  |  |
| Description | Comments related to the condition/status of inflow |  |  |

MS4_PB.60 – Buffer

| Database Name | PBB_BUFF |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Overall condition/status description of buffer |  |  |

MS4_PB.61 – Encroachments

| Database Name | PBB_ENCR |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Presence of physical encroachments (structures in buffer) |  |  |

MS4_PB.62 – Buffer Clearing Vegetation

| Database Name | PBB_CLVG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status/need for clearing vegetation in buffer |  |  |

MS4_PB.63 – Buffer Planting Needed

| Database Name | PBB_PLND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status/need for planting vegetation in buffer |  |  |

MS4_PB.64 – Buffer Access Routes

| Database Name | PBB_ACRT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status or condition of access route to/through buffer |  |  |

MS4_PB.65 – Buffer Public Hazards

| Database Name | PBB_PHAZ |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status/presence of public hazard (Details of public hazard can be added in PB_INSUM [General Comments]) |  |  |

MS4_PB.66 – Buffer Fence

| Database Name | PBB_FENCE |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Status or condition of fence in buffer |  |  |

MS4_PB.67 – Buffer Condition

| Database Name | PBB_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Overall rating of status or condition of buffer |  |  |

MS4_PB.68 – Buffer Comments

| Database Name | PBB_COND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (insert general status notes about buffer) |  |  |
| Description | General status or condition description of buffer |  |  |

MS4_PB.70 – Overall Condition of Pond/Basin

| Database Name | PB_OVERCND |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4Condition |
| Example | NA = Not Applicable NI = Not Inspected 0 = Not a problem 1 = Monitor 2 = Routine Maintenance Required 3 = Immediate Repair, Work or Activity Necessary |  |  |
| Description | Overall condition of the pond/basin feature |  |  |

MS4_PB.71 – Illicit Discharge Evidence Connections

| Database Name | PBIL_CT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Conditional |
| Width | 2 | Domain | ms4YesNoUnknown |
| Example | Yes, No, Unknown |  |  |
| Description | Evidence of illicit discharge or illicit connections |  |  |

MS4_PB.72 – Illicit Discharge Evidence of Connection Comments

| Database Name | PBIL_CMNT |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (Inspector summary of evidence of illicit discharge or illicit connections) |  |  |
| Description | Evidence of illicit discharge or illicit connections |  |  |

MS4_PB.73 – Capacity Gauging

| Database Name | PB_CAPG |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (text notes) |  |  |
| Description | Notes on capacity gauging |  |  |

MS4_PB.74 – Sediment Sample Notes

| Database Name | PB_PB_SEDSAM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (text notes) |  |  |
| Description | Inspector sediment sampling performed |  |  |

MS4_PB.75 – Inspectors Summary

| Database Name | PB_INSUM |  |  |
| --- | --- | --- | --- |
| Data Type | Text | Inclusion | Optional |
| Width | 254 | Domain | (none) |
| Example | (insert text of inspector’s comments/summary on the feature) |  |  |
| Description | Inspector summary notes |  |  |